## Slide 1: Guidelines for Setting up Isolation Facility/Ward for Covid 19
State Institute of Health and Family Welfare-Rajasthan

## Slide 2: Quarantine and isolation
Quarantine and Isolation are important mainstay of cluster containment. These measures help by breaking the chain of transmission in the community.
Quarantine refers to separation of individuals who are not yet ill but have been exposed to COVID-19 and therefore have a potential to become ill. There will be voluntary home quarantine of contacts of suspect /confirmed cases.

## Slide 3: Isolation
Isolation refers to separation of individuals who are ill and suspected or confirmed of COVID-19.
All suspect cases detected in the containment/buffer zones (till a diagnosis is made), will be hospitalized and kept in isolation in a designated facility till such time they are tested negative.
Persons testing positive for COVID-19 will remain to be hospitalized till such time two of their samples are tested negative as per MoHFW’s discharge policy.
About 15% of the patients are likely to develop pneumonia, 5% of whom requires ventilator management

## Slide 4: Covid Care
Health Facility Should have
Designated ARI/COVID-19 triage area
Availability of signage directing to triage area and signage to instruct patients to alert staff if they have symptoms of COVID-19
Physical barriers (e.g., glass or plastic screens) at reception areas available to limit close contact between triage staff and potentially infectious patients
Triage protocols
Specific waiting area for people with respiratory symptoms
Non-contact Infra-Red thermometer near the registration desk and at Triage Area

## Slide 5: Isolation Ward
State level - a minimum of 50 beds.
District level -a minimum of 10 beds.
To create a 10 bed facility, a minimum space of 2000 sq. feet area clearly segregated from other patient care areas is required.
Post signages on the door indicating that the space is an isolation area.

## Slide 6: Isolation Ward
Preferably the isolation ward should have a separate entry/exit and should not be co-located with post-surgical wards/dialysis unit/SNCU/labour room etc.
It should be in a segregated area which is not frequented by outsiders.
The access to isolation ward should be through dedicated lift/guarded stairs.
The isolation ward should have a separate toilet with proper cleaning and supplies.

## Slide 7: Isolation Ward
There should be double door entry with changing room and nursing station.
Enough PPE should be available in the changing room with waste disposal bins to collect used PPEs.
Used PPEs should be disposed as per the BMWM guidelines.
Set up a telephone or other method of communication in the isolation room or area to enable patients, family members or visitors to communicate with health-care workers.
This may reduce the number of times the workers need to don PPE to enter the room or area.

## Slide 8: Isolation ward/room layout
Post signage on the door.
Ensure appropriate hand-washing facilities.
Ensure appropriate room ventilation (>12 ACH).
Ensure directional control of air flow, with air flow entering the room only when the door is open, and exhausted outside safely.
In naturally ventilated airborne precaution rooms, the air flow should be directed to areas free of transit, or safely outside where it may be diluted.

## Slide 9: Room setup
Remove all non-essential furniture; the rest should be easy to clean, and should not conceal or retain dirt or moisture within or around it.
Set up a trolley outside the door to hold PPE.
Stock PPE supply and linen outside the precaution room/ area (e.g. in the changing room).
Stock the sink area with suitable supplies for hand washing, and with ABHR near the point-of-care and room door.
Place appropriate waste bags in a bin. If possible, use a touch-free bin.
Dirty bins should remain inside the precaution rooms.
Place a puncture-proof container for sharps disposal inside the precaution room/area.
Place an appropriate container with a lid outside the door for equipment that requires disinfection or sterilization.

## Slide 10: Isolation Ward
Spacing between beds In Isolation Ward, should be 1–2 metres.
Single rooms
Single rooms reduce the risk of transmission of infection from the source patient to others by reducing direct or indirect contact transmission.
Single rooms should have:
  hand-washing facilities
  toilet and bathroom facilities.
Anterooms Single rooms used for isolation purposes may include an anteroom to support the use of PPE

## Slide 11: Placement and admissions
A room should be cleaned before admitting a patient.
There should be a policy for cleaning the room
  (i) after patient discharge (terminal cleaning) and
  (ii) before admission.
All patient-care items used by the previous patient should be removed and replaced with clean items, e.g. bed linen, waterproof covering, oxygen humidifiers, face mask, etc.
Patient-care equipment and articles should be cleaned, disinfected or sterilized according to the disinfection policy

## Slide 12: Transport of patients
Movement and transportation of patients from the isolation room or area should be restricted to essential purposes only.
This will reduce the possibility of transmission of microorganisms in other areas of the HCF.
Appropriate precautions should be taken during transportation to reduce the risk of transmission of microorganisms to other patients, HCWs or the hospital environment (surfaces or equipment)

## Slide 13: Ventilation/ Negative pressure
Ensure adequate room ventilation. If room is air-conditioned, ensure 12 air changes/ hour and filtering of exhaust air.
A negative pressure in isolation rooms is desirable for patients requiring aerosolization procedures (intubation, suction nebulisation).
These rooms may have standalone air-conditioning. These areas should not be a part of the central air-conditioning.
If air-conditioning is not available negative pressure could also be created through putting up 3-4 exhaust fans driving air out of the room.

## Slide 14: Ventilation/ Negative pressure
In district hospital, where there is sufficient space, natural ventilation may be followed.
Such isolation facility should have large windows on opposite walls of the room allowing a natural unidirectional flow and air changes.
The principle of natural ventilation is to allow and enhance the flow of outdoor air by natural forces such as wind.

## Slide 15: Inside Isolation Ward
Place appropriate waste bags in a bin. If possible, use a touch-free bin.
Ensure that used (i.e. dirty) bins remain inside the isolation rooms.
Place a puncture-proof container for sharps disposal inside the isolation room/area and bio-medical waste should be managed as per the BMWM guidelines.

## Slide 16: Inside Isolation Ward
Keep the patient’s personal belongings to a minimum.
Keep water pitchers and cups, tissue wipes, and all items necessary for attending to personal hygiene within the patient’s reach.

## Slide 17: Inside Isolation Ward
Non-critical patient-care equipment (e.g. stethoscope, thermometer, blood pressure cuff, and sphygmomanometer) should be dedicated for the patient, if possible.
Any patient-care equipment that is required for use by other patients should be thoroughly cleaned and disinfected before use.
Avoid sharing of equipment, but if unavoidable, ensure that reusable equipment is appropriately disinfected between patients.

## Slide 18: Inside Isolation Ward
Place an appropriate container with a lid outside the door for equipment that requires disinfection or sterilization.
Ensure that appropriate hand washing facilities and hand-hygiene supplies are available.
Stock the sink area with suitable supplies for hand washing, and with alcohol-based hand rub, near the point of care and the room door.

## Slide 19: Cleaning/Disinfection
Ensure regular cleaning and proper disinfection of common areas, and adequate hand hygiene by patients, visitors and care givers.
Keep adequate equipment required for cleaning or disinfection inside the isolation room or area, and ensure scrupulous daily cleaning of the isolation room or area.

## Slide 20: Infection Prevention And Control Practices
Isolation area should have
Functioning hand washing stations (including water, soap and paper towel or air dry)
Uninterrupted running water supply
Alcohol based hand sanitizer
Posters to reinforce hand washing and PPE at hand washing stations
Staff should follow
Five movements of hand washing
Six steps of hand washing

## Slide 21: Environmental Cleaning
Staff should be trained in housekeeping and infection control practices
Linen should be stripped from the bed with care taken not to shake the linen during this action
Linen should be soaked in disinfectant, i.e. hypochlorite 1:50 for 20 minutes for white clothes and coloured linen as per hospital policy suitable high-level disinfectant to be used and then sent to the laundry.
All other articles such as IV stands and furniture should be cleaned with detergent and disinfected followed by high-level disinfectant.
Walls should be cleaned with detergent and mopped with a high-level disinfectant.
The bathrooms should be cleaned with detergent and water followed by disinfection with hypochlorite 1:50 dilution.

## Slide 22: At discharge
The pillows and mattress covers are to be cleaned with detergent, disinfected with a high level disinfectant and sent to the laundry.
Bed sheets, curtains, gowns and dusters must be removed, soaked in with a high-level disinfectant for one hour and then sent to laundry.
After disinfection, wash the room, wall, window, doors, bathroom, sink and furniture with soap solution after doing thorough high dusting in that cubicle.

## Slide 23: At discharge
Soak bed pan, urinal, kidney basin in with a high-level disinfectant for one hour, wash with detergent and dry it under sunlight.
Wash basin, multi-bin, bucket, jugs, mugs are washed with soap solution and dried in sunlight.
Rubber sheets (Mackintosh) are to be cleaned with detergent and water, dried, powdered and replaced.

## Slide 24: Visitors
Visitors to the isolation facility should be restricted /disallowed.
For unavoidable entries, they should use PPE according to the hospital guidance, and should be instructed on its proper use and in hand hygiene practices prior to entry into the isolation room/area.
Ensure that visitors consult the health-care worker in charge (who is also responsible for keeping a visitor record) before being allowed into the isolation areas.

## Slide 25: Staff
Doctors, nurses and paramedics posted to isolation facility need to be dedicated and not allowed to work in other patient-care areas.
Keep a roster of all staff working in the isolation areas, for possible outbreak investigation and contact tracing.
All health staff involved in patient care should be well trained in the use of PPE.
Consider having designated portable X-ray and portable ultrasound equipment.

## Slide 26: Training
Education and job-specific training to HCP regarding
  Signs and symptoms of infection
  Triage procedures including patient placement and filling the CIF
  safely collect clinical specimen
  Correct infection control practices and PPE use
  HCP sick leave policies
  Recommended actions for not using recommended PPE
  how and to whom suspected cases (covid-19)should be reported

## Slide 27: Checklist for isolation rooms
Eye protection (visor or goggles)
Face shield (provides eye, nose and mouth protection)
Reusable vinyl or rubber gloves for environmental cleaning
Latex single-use gloves for clinical care
Hair covers
Particulate respirators (N95, FFP2, or equivalent) medical (surgical or procedure) masks
Gowns and aprons
Single-use long-sleeved fluid-resistant or reusable non-fluid-resistant gowns
Plastic aprons (for use over non-fluid-resistant gowns if splashing is anticipated and if fluid-resistant gowns are not available)
Alcohol-based hand rub
Plain soap (liquid if possible, for washing hands in clean water)
Clean single-use towels (e.g. Paper towels)
Sharps containers

## Slide 28: Checklist for isolation rooms
Appropriate detergent for environmental cleaning and disinfectant for disinfection of surfaces, instruments or equipment
Large plastic bags
Appropriate clinical waste bags
Linen bags
Collection container for used equipment
Standard IEC
Standard protocols for hand hygiene, sample collection and BMW displayed clearly
Standard Clinical management protocols

## Slide 29: Wearing and removing Personal Protective Equipment
Before entering the isolation room or area:
Collect all equipment needed;
Perform hand hygiene with an alcohol-based hand rub (preferably when hands are not visibly soiled) or soap and water;
Put on PPE in the order that ensures adequate placement of PPE items and prevent self-contamination and self-inoculation while using and taking off PPE;
  an example of the order in which to don PPE when all PPE items are needed is hand hygiene, gown, mask or respirator, eye protection and gloves

## Slide 30: Leaving the isolation room or area
Either remove PPE in the anteroom or, if there is no anteroom, make sure that the PPE will not contaminate either the environment outside the isolation room or area, or other people.

## Slide 31: Remove PPE
Remove PPE in a manner that prevents self-contamination or self-inoculation with contaminated PPE or hands. General principles are:
Remove the most contaminated PPE items first;
Perform hand hygiene immediately after removing gloves;
Remove the mask or particulate respirator last (by grasping the ties and discarding in a rubbish bin);
Discard disposable items in a closed rubbish bin;
Put reusable items in a dry (e.g. Without any disinfectant solution) closed container;
  an example of the order in which to take off PPE when all PPE items are needed is gloves (if the gown is disposable, gloves can be peeled off together with gown upon removal), hand hygiene, gown, eye protection, mask or respirator, and hand hygiene
Perform hand hygiene with an alcohol-based hand rub (preferably) or soap and water whenever un-gloved hands touch contaminated PPE items.

## Slide 32: Source of above information
https://ncdc.gov.in/WriteReadData/l892s/42417646181584529159.pdf
https://www.mohfw.gov.in/pdf/National%20Guidelines%20for%20IPC%20in%20HCF%20-%20final%281%29.pdf

## Slide 33
Thank You